

**MORETELE LOCAL MUNICIPALITY**

**REQUESTION FOR QUOTATION FORM**

**RFQ 31: MLM/CDS/STADIUM/DERTIG/NOV – 2022**

**MAINTENANCE OF DERTIG STADIUM**

NAME OF BIDDER:

TOTAL BID PRICE (Incl. VAT)

CENTRAL SUPPY DATABASE REGISTRATION NO:…………………………….

R

**1. BILLING QUATITIES**

**MORETELE LOCAL MUNICIPALITY VAT NO: 4030197299**

**BIDDERS NAME …………………………………………………….**

**BIDDERS VAT :……………………………………………….**

**SPECIFICATION: MAINTENANCE OF DERIG STADIUM**

|  |  |  |  |
| --- | --- | --- | --- |
| **ITEM NO** | **DESCRIPTION** | **QUANTITY** | **AMOUNT** |
| 1. | **Supply and installation of water pump :**  Motor: 220-240 volts  2Xm25/160A  Hmax 65  Qmax8m  Kw 2.2  HZ50  2900MIN-1  In 14.5 A  IP X4  C 65f  VL 450v | 01 |  |
| 2. | **Irrigation system**  Repair, replace, install main pipe to valves and sprinkles   * Sprinkles * Valves | 21  14 |  |
| 3. | **Ablution block**   * Unblock toilet system | 01 |  |
| 4. | Supply and installations of electricity   * Supply and connect bundle electrical cable from the existing main line to the stadium * Supply and install stand-pole to support the cable * Pole box * Supply and install Kiosk | 50m  7m  01  01 |  |
| 5. | Supply and install floods lights   * Wattage: 150 Watts * Input Voltage: 230Vac * Lumens: 11250 * Colour Options: Cool White (6000K) * CRI: ;70 * Beam Angle: 120° * Housing: Aluminium * Dimensions: 325 x 253mm * Housing Colour: Black * Surge Protection: 2.5kV * Ingress Protection: IP65 | 03 |  |
| 6. | Supply and replace wooden doors with steel doors with handles | 02 |  |
|  |  | **TOTAL AMOUNT** |  |
|  |  | **15% VAT** |  |
|  |  | **GRAND TOTAL** |  |

BIDDERS SIGNATURE ……………………………………………….

2. BANKING DETAILS (Confirmation letter from the bank is needed or attach a cancelled cheque)

Bank :…………………………………………….

Type of account :……………………………………………

Account No. :……………………………………………

Branch code :…………………………………………….

**3. RETURNABLE SCHEDULES, FORMS, CERTIFICATES AND DOCUMENTS REQUIRED FOR BID EVALUATION PURPOSES**

1. Company profile

2. Certified Identity Document of Directors

3. Company Registration document

4. Certified B-BBEE Status Level Validation Certificate

5. Municipal rate and taxes not older than three months/ Lease agreement

6. Central supply database summary report

7.CIDB Grading at least level 1