

**MORETELE LOCAL MUNICIPALITY**

**REQUESTION FOR QUOTATION FORM**

**RFQ 31: MLM/CDS/STADIUM/DERTIG/NOV – 2022**

**MAINTENANCE OF DERTIG STADIUM**

NAME OF BIDDER:

TOTAL BID PRICE (Incl. VAT)

CENTRAL SUPPY DATABASE REGISTRATION NO:…………………………….

R

**1. BILLING QUATITIES**

**MORETELE LOCAL MUNICIPALITY VAT NO: 4030197299**

**BIDDERS NAME …………………………………………………….**

**BIDDERS VAT :……………………………………………….**

**SPECIFICATION: MAINTENANCE OF DERIG STADIUM**

|  |  |  |  |
| --- | --- | --- | --- |
| **ITEM NO** |  **DESCRIPTION** | **QUANTITY** | **AMOUNT** |
| 1. | **Supply and installation of water pump :**Motor: 220-240 volts2Xm25/160AHmax 65Qmax8mKw 2.2HZ502900MIN-1In 14.5 AIP X4C 65fVL 450v |  01 |  |
| 2. | **Irrigation system**Repair, replace, install main pipe to valves and sprinkles* Sprinkles
* Valves
 | 2114 |  |
| 3. | **Ablution block*** Unblock toilet system
 | 01 |  |
| 4. | Supply and installations of electricity * Supply and connect bundle electrical cable from the existing main line to the stadium
* Supply and install stand-pole to support the cable
* Pole box
* Supply and install Kiosk
 | 50m7m0101 |  |
| 5. | Supply and install floods lights * Wattage: 150 Watts
* Input Voltage: 230Vac
* Lumens: 11250
* Colour Options: Cool White (6000K)
* CRI: ;70
* Beam Angle: 120°
* Housing: Aluminium
* Dimensions: 325 x 253mm
* Housing Colour: Black
* Surge Protection: 2.5kV
* Ingress Protection: IP65
 | 03 |  |
| 6. | Supply and replace wooden doors with steel doors with handles | 02 |  |
|  |  | **TOTAL AMOUNT** |  |
|  |  | **15% VAT** |  |
|  |  | **GRAND TOTAL** |  |

BIDDERS SIGNATURE ……………………………………………….

2. BANKING DETAILS (Confirmation letter from the bank is needed or attach a cancelled cheque)

Bank :…………………………………………….

Type of account :……………………………………………

Account No. :……………………………………………

Branch code :…………………………………………….

**3. RETURNABLE SCHEDULES, FORMS, CERTIFICATES AND DOCUMENTS REQUIRED FOR BID EVALUATION PURPOSES**

1. Company profile

2. Certified Identity Document of Directors

3. Company Registration document

4. Certified B-BBEE Status Level Validation Certificate

5. Municipal rate and taxes not older than three months/ Lease agreement

6. Central supply database summary report

7.CIDB Grading at least level 1